# INSTALLATION / SPECIFICATION DATA

# ELASTA-TUFF SYSTEM #566 – INT - VEH

# INTERIOR PARKADE, TRAFFIC BEARING, WATERPROOFING SYSTEM

1.  GENERAL

1.1  Scope: This specification covers the installation of a durable, liquid applied, abrasion resistant polyurethane waterproofing system suitable for INTERIOR VEHICULAR TRAFFIC BEARING SURFACES. It is a monolithic system, designed to seal the concrete slabs from deicing salts and moisture penetration during freeze-thaw to high temperature, high humidity thermal cycling. This vehicular traffic coating system incorporates excellent adhesion, impact resistance and abrasion resistance.

1.2  Work Included: Install waterproofing consisting of caulking and flashing for joints, TUFF-POXY #3 Epoxy Primer, ELASTA-TUFF 5000 Base Membrane, ELASTA-TUFF 6000-AR-HS Intermediate Membrane and ELASTA-TUFF 6000-AR-HS Top Coat. Apply in accordance with these specifications and latest general instructions supplied by TUFFLEX International, Inc. (TUFFLEX INT’L).

1.3  Work Not Included: Work under this section shall not include finishing and corrective work in connection with the surfaces which are to receive the liquid-applied coating system. Nor does it include furnishing and installation of metal flashing, drains, vents, ducts, curbs or any other penetration through the deck.

  - Condition of Concrete Surfaces:

1.41  The concrete surfaces shall be of sound structural grade (4,000 psi compressive strength recommended), of adequate design and thickness for vehicular traffic, and shall have a steel troweled followed by a fine broom finish, free of fins, ridges, voids or air entrained holes.

1.42  Concrete shall be cured by water curing method or water-based pure sodium silicate. Curing compounds or curing agents of any type shall not be used unless they have prior approval from TUFFLEX INT’L.

1.43  Concrete shall be cured at least 28 days and shall be sloped for proper drainage.

1.44  Saw-cut control joints and/or expansion joints shall have been properly installed at strategic points throughout the field of the deck to control cracking caused by deflection and shrinkage.

1.45  Any required crickets or drains should be installed at the time the main deck is poured (i.e. monolithic).

1.46  Voids, rock pockets and excessively rough surfaces shall be repaired with epoxy grout or ground to match the unrepaired areas.

1.47  When metal decking is used as the concrete form, it shall be of the “ventilating type”.

1.48  All concrete decks poured over precast “T’s”, planks or slabs, shall have control joints placed directly over all corresponding joints or openings in the precast units.

  - Job Conditions:

1.51  Before any traffic deck coating work is started the waterproofing applicator shall thoroughly examine all surfaces for any deficiencies. Should any deficiencies exist, the architect, owner, or general contractor shall be notified in writing and application shall not begin until corrections are made.

1.52  Do not proceed with application of materials when deck temperature is less than 40(F or if precipitation is imminent.

1.53  Warn personnel against breathing of vapors and contact of material with skin or eyes. In confined areas, workmen shall wear the appropriate MSHA/NIOSH approved respiratory protective gear and protective clothing.

1.54  All gas flames and electrical apparatus shall be shut down prior to the start of and during coating application and curing.

1.55  Protect plants, vegetation, and animals which might be adversely affected by the coating operation.

1.56  TUFFLEX Elastomeric Coating Systems should not be installed onto on-grade slabs, split slabs with buried membrane or onto slabs over unvented metal pans without additional surface preparation work and specific approval from TUFFLEX INT’L.

2. QUALIFICATIONS

  - Professional Applicator:

2.11 Shall be experienced in successfully applying the same or similar materials and shall be specifically approved as a Distributor Qualified Applicator in writing by Flexstone Coatings.

2.12 Shall be financially responsible and be ready and able to submit the required project warranty and any required completion bonds.

2.13 Shall submit to the general contractor and the building owner the required certificates of insurance prior to starting the project.

2.2 Sample Submittals: Submit samples not less than 3” X 4” in size, showing the approximate applied thickness, texture and color. The submittal shall also include the manufacturer’s application-specification sheet and a list of materials by name and quantity to be used on this project.

3. MATERIALS

The materials shall be delivered to the job site in the original sealed containers bearing the product name, color, manufacturer’s lot number, directions for use and precautionary labels. All products listed are manufactured or supplied by TUFFLEX INT’L.

3.1 Caulking Compound: Shall be a one-component or two-component polyurethane compound approved by TUFFLEX INT’L.

3.2  Flashing Reinforcement: Shall be TUFF-TAPE “PW” woven polyester reinforcing fabric or TUFF-TAPE “WG”, woven fiberglass reinforcing fabric as recommended by TUFFLEX INT’L.

3.3  Primer: Shall be TUFF-POXY Primer #3 (Low VOC) Epoxy-Polyamine, low viscosity, two-component primer-sealer.

3.4 Base Membrane: Shall be ELASTA-TUFF 5000 single-component, high adhesion, moisture cured, and elastomeric polyurethane membrane and shall meet or exceed the following typical properties:

ELASTA-TUFF 5000 Base Coat

| PROPERTY | TYPICAL VALUE | TEST METHOD |
| --- | --- | --- |
| Composition | Aromatic Urethane |  |
| Weight Solids | 85( 2% |  |
| VOC Content | Less than 200 gm/l |  |
| Hardness, Shore A | 65 ( 5 | ASTM D-2240 |
| Tensile Strength | 900 ( 100 psi | ASTM D-412 |
| Ultimate Elongation | 550 ( 100% | ASTM D-412 |
| Tear Resistance | 150 ( 25 lb./in. | ASTM D-1004 |
| Weather Resistance | Slight Checking at 500 hours | ASTM D-822 |
| Adhesion to Primed Concrete | 30 pli | ASTM D-903 |
| Low Temp Flexibility | -30(F |  |

3.5 Aggregate Binder & Top Coat: Shall be ELASTA-TUFF 6000-AR-HS high tensile strength, abrasion resistant elastomeric polyurethane and shall meet or exceed the following typical properties:

ELASTA-TUFF 6000-AR-HS Top Coat

| PROPERTY | TYPICAL VALUE | TEST METHOD |
| --- | --- | --- |
| Composition | Aromatic Urethane |  |
| Weight Solids | 78 ( 2% |  |
| VOC Content | Less than 250 gm/l |  |
| Hardness, Shore A | 80 ( 5 | ASTM D-2240 |
| Tensile Strength | 3300 ( 300 psi | ASTM D-412 |
| Ultimate Elongation | 250 ( 50% | ASTM D-412 |
| Tear Resistance | 300 ( 50 lb./in. | ASTM D-1004 |
| Weather Resistance | No chalking at 500 hours | ASTM D-822 |
| Adhesion to Base Coat | 30 pli | ASTM D-903 |

3.6  Aggregate: Shall be rounded, non angular, 20 mesh flint shot silica, or equivalent washed and kiln-dried aggregate. Aggregate shall be hard and stable to anticipated use conditions.

4.  SUBSTRATE PREPARATION

4.1  Concrete Surfaces:

4.11  The concrete surface must be thoroughly clean, dry and free from any surface contaminates or cleaning residue. Acceptable methods of cleaning are shot-blasting, sandblasting, or mechanical grinding followed by the complete and thorough removal or any residue.

4.12  All cracks over 1/16 inch in width and all moving cracks under 1/16 inch in width shall be routed out to ¼ inch minimum in width and depth and filled flushed with polyurethane elastomeric sealant.

4.13  All cracks shall be stripe-coated with a 4 inch wide by 30 mils thick detail coat of ELASTA-TUFF 5000.

4.14  Apply a ¾ inch cant of sealant around all pipes, drains and vertical junctions.

4.15  All expansion and contraction joints shall be cleaned, primed, fitted with a backing rod and caulked with elastomeric polyurethane sealants. Joints under ½ inch in width and all caulked cracks shall be stripe-coated with a 30 mil preparatory coat of ELASTA-TUFF 5000.

4.16  Prior to commencing with the application, all surfaces to be coated shall be dry and free from any surface contaminates or cleaning residues.

4.2  Flashing Reinforcement:

4.21 All required metal or neoprene flashing and fabric flashing reinforcement and all sealant cants shall be installed at this time.

4.22  All metal shall be delivered shop primed and then be field primed with TUFF-POXY Primer #3 Epoxy Primer prior to coating with the base membrane. (For galvanized and other metal surfaces which may exhibit adhesion difficulties, first prime with an acid-wash or zinc-rich epoxy primer.)

4.23 ELASTA-TUFF 5000 Base Membrane is used as an adhesive for the polyester reinforcing fabric. The reinforcing fabric shall be laid into the wet base membrane with roller, brush or broad blade knife. The fabric shall be laid relaxed, smooth and wrinkle-free and thoroughly embedded in the Base Membrane.

4.24  Flashing and polyester reinforcing fabric shall be coated (with base coats and top coats) each time the deck is coated.

4.3 Priming: Stir each side separately and then mix all of Part A with all of Part B.  Use a mixing paddle on a slow speed drill motor. Mix for 3 to 4 minutes, scrape bottom and sides of mixing pail to insure complete mixing.

5.  APPLICATION OF MEMBRANE

5.1 Primer: Apply TUFF-POXY #3 Epoxy Primer at the approximate rate of 250-350 square feet per gallon. Allow primer to dry until it is tack-free. Within 16 hours of application of the primer, the base coat must be applied. If the base coat cannot be applied within 16 hours or if the primer is contaminated by construction debris or rain, then re-prime.

5.2  Standard Duty Traffic Areas:

5.21 ELASTA-TUFF 5000 Base Membrane shall be trowel or squeegee and roller applied in one uniform coat at the rate of one gallon minimum per 50 square feet or as needed in order to obtain a minimum wet film thickness of 32 mils. Allow 16 to 48 hours curing time before applying the next coat. Do not apply coating system over joints greater than ½ inch wide. (If the base or elastomeric membranes should become dirty or contaminated, or loose their surface tack, wipe clean with xylene).

5.22 ELASTA-TUFF 6000-AR-HS Aggregate Binder shall be trowel or squeegee and roller applied in one uniform coat at the rate of one gallon minimum per 100 square feet (16 wet mils). While the coating is still fluid, uniformly broadcast and thoroughly encapsulate by backrolling 20 mesh aggregate into the coating at the rate of 12-15 lbs. of aggregate per 100 square feet. Allow 16 to 36 hours curing time @ 77(F before applying the next coat.

5.23  ELASTA-TUFF 6000-AR-HS Top Coat shall be applied by trowel or flat squeegee, and followed by backrolling, in one uniform coat at the rate of one gallon minimum per 200 square feet in order to obtain a minimum coating thickness of 8 wet mils and to completely coat the aggregate.

5.3 Heavier Duty Vehicular Traffic Areas:

5.31 After application in accordance with Sections 5.1, 5.21 and 5.22; ELASTA-TUFF 6000-AR-HS Aggregate Binder shall be trowel or squeegee and roller applied in one uniform coat at the rate of one gallon minimum per 100 square feet (16 wet mils). While the coating is still fluid, uniformly broadcast and thoroughly encapsulate by backrolling 20 mesh aggregate into the coating at the rate of 12-15 lbs. of aggregate per 100 square feet.

5.32 After the ELASTA-TUFF 6000-AR-HS Aggregate Binder has been cured 16 to 36 hours a final Top Coat of ELASTA-TUFF 6000-AR-HS Top Coat shall be trowel or squeegee and roller applied in one uniform coat at the rate of one-gallon minimum per 200 square feet in order to obtain an average coating thickness of 8 wet mils and to completely coat the aggregate.

5.4 Thickness: Excluding the encapsulated aggregate, the Standard Duty Coating thickness shall average 42 dry mils (1.05 mm); and the Heavy Duty Traffic Coating thickness shall average 54 dry mils (1.35 mm).

6. APPLICABLE STANDARDS / SPECIFICATIONS

This Traffic Bearing Coating System shall comply with applicable Federal EPA VOC regulations, the Northeast Ozone Transportation Corridor VOC Regulations and applicable California Regional Air Quality Regulations and shall meet the performance requirements of ASTM C-957-87, High Solids Content, Cold Liquid Applied Elastomeric Waterproofing Membrane with Integral Wearing Surface.

7. GUARANTEE / WARRANTY

When this Elastomeric Coating System is installed by a Distributor Qualified Applicator, is inspected and approved in accordance with these specifications, and after receipt of the final payment, the Distributor Qualified Applicator shall issue the applicator’s customary and standard installation guarantee covering defects in material and workmanship.

TUFFLEX International, Inc. (TUFFLEX INT’L) warrants its products to be free of defects in workmanship and materials only at the time of shipment from our factory. If any TUFFLEX INT’L materials prove to contain manufacturing defects that substantially affect their performance TUFFLEX INT’L will, at its option, replace the material or refund the purchase price.

The dollar value of TUFFLEX INT’L’s liability and buyer’s remedy under this limited warranty shall not exceed the purchase price of the TUFFLEX INT’L materials in question.

8. EXTERIOR PARKING AREAS

In areas where the membrane will be exposed to the UV rays from the sun, Tufflex Elasto-Tuff 6000 AL (high solids) coloured top coat is recommended. The 6000 AL (aliphatic) membrane provides 100% UV stability and will protect the membrane from any fading.

ELASTA-TUFF # 566-INT-VEH (14)